## BOM FULL COTIZACION
NICLABS - WATER MONITORING SYSTEM - BOM
Item # | *Designator | *Qty | Manufacturer | *Mfg Part # | Description / Value | *Package/Footprint code | *Package/Footprint inch | *Package/Footprint metric | Type | Mouser/Digikey Link
1 | C1, C2, C3,C4, C6, C8, C10, C12, C14, C15, C18, C19, C20, C22, C24, C28, C29, C30, C31, C32, C33, C34, C35, C40,C42, C46, C47, C56, C57, C66 | 30 | Samsung Electro-Mechanics | CL10B104KO8NFNC | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 100nF+/-10% 16V X7R 1608 |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Samsung-Electro-Mechanics/CL10B104KO8NFNC?qs=%2Fha2pyFaduh3vwrZSGoh3dPL6vu9Tpk3nn6258XDSfhnow5VlLeDIw%3D%3D
2 | C5 | 1 | ROHM Semiconductor | TCTAL0J107M8R | Capacitores de tantalio - SMD sólido 1206 100uF 6.3V 20% |  | 1206 | 3216 | SMD/SMT | https://www.mouser.cl/ProductDetail/ROHM-Semiconductor/TCTAL0J107M8R?qs=%2Fha2pyFadugr9NgbDixG0icLzuVUWn6rrFI0TBh1BrUlsoFTGm7TlQ%3D%3D
3 | C7, C17, C36, C43 | 4 | TDK | C1608JB1E475M080AC | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT RECOMMENDED ALT 810-C1608X5R1E475K |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/TDK/C1608JB1E475M080AC?qs=%2Fha2pyFaduiXjKODbbnBiyPyZHOExqgdQeEqD%2F48PWzSuDyfQ%2FqgEn0af0b6ND38
4 | C9, C54, C64 | 3 | TDK | C1608C0G1H102J080AE | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 0603 50VDC 1nF 5% C0G |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/TDK/C1608C0G1H102J080AE?qs=%2Fha2pyFaduh%2FHzsk5TCUrv5Z9jRiweOQrgT0sTuPdLHtwe3Si1kx91VFpVwzfEt8
5 | C11, C13, C23, C25, C37, C38, C39, C41, C44, C45 | 10 | Murata Electronics | GRM188C81C106MA73D | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 0603 10uF 16volts X6S 20% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Murata/GRM188C81C106MA73D?qs=sGAEpiMZZMukxKgYRb08uFfgMIv%252B6ao1ahaF%252B5CxSJw%3D
6 | C16 | 1 | KEMET | C0603X222M4HAC7867 | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 16V 2200pF X8R 0603 20% Flex Soft |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/KEMET/C0603X222M4HACTU?qs=%2Fha2pyFadugmFuO6EchbccAoiz0GIozTf4pbm0rlErYloU8rx1n2ptXBKLHzNU7y
7 | C21, C26, C27, C49, C50, C59, C60 | 7 | Taiyo Yuden | UMK107ABJ105KAHT | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 0603 50VDC 1uF 10% X5R AEC-Q200 |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Taiyo-Yuden/UMK107ABJ105KAHT?qs=%2Fha2pyFadugkWdPrsxxhzBtGI0GwxX1wavXx%2FUohPxOs2%252BTqUTKpwQ%3D%3D
8 | C48, C52, C53, C58, C62, C63 | 6 | Kyocera AVX | 06036D476MAT2A | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 6.3V 47uF X5R 0603 20% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Kyocera-AVX/06036D476MAT2A?qs=%2Fha2pyFadugPV2ORoP2tqth%2F2SkNhkybLVbS241ctXnCBpkqDztsVw%3D%3D
9 | C51, C61 | 2 | Samsung Electro-Mechanics | CL10C510JB8NNNC | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 51pF+/-5% 50V C0G 1608 |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Samsung-Electro-Mechanics/CL10C510JB8NNNC?qs=%2Fha2pyFadugzXMq1pHWgBophPpY0nyAiIhhGTsoFqO9m6BPrRMm1oA%3D%3D
10 | C55, C65 | 2 | Kyocera AVX | 06035C823K4Z2A | Capacitores cerámicos de capas múltiples (MLCC) - SMD/SMT 50V 0.082uF X7R 0603 10% Flex AEC-Q200 |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Kyocera-AVX/06035C823K4Z2A?qs=%2Fha2pyFaduiEwYNa0R%252BHYttLQDnuDb25vc4jEZgqdePi3MlgwX8thA%3D%3D
11 | D1, D2, D4, D5 | 4 | Nexperia PMLL4148L | PMLL4148L,115 | Diodos - Propósito general, Energía, Conmutación SW GPP 75V 200MA | SOD-80C-2 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Nexperia/PMLL4148L115?qs=LOCUfHb8d9vcA5iH%2Fx5Wuw%3D%3D
12 | D3 | 1 | Diodes Incorporated | 1N5819HWQ-7-F | Rectificadores y diodos Schottky Schottky Rectifier | SOD-123-2 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Diodes-Incorporated/1N5819HWQ-7-F?qs=gZXFycFWdAPDr8BmsK1ygg==
13 | D6, D7, D8, D9 | 4 | STMicroelectronics SM15T | SM15T36CA | Supresores de descargas electrostáticas (ESD) / Diodos TVS 1500W 36V Bidirect | DO-214AB-2 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/STMicroelectronics/SM15T36CA?qs=K4DpzJ20gDHqk6qZVULfyQ%3D%3D
14 | IC1 | 1 | Maxim integrated | DS3231SN# | Reloj de tiempo real Extremely Accurate I C-Integrated RTC/TCXO/Crystal | SOIC-16 |  |  |  | https://www.mouser.cl/ProductDetail/Maxim-Integrated/DS3231SN?qs=sGAEpiMZZMvo0doU39sz81gGjTynZVuwXkwYtwZZnJE%3D
15 | JP1 | 1 | Molex | 473521001 | Conectores de tarjeta de memoria TFR PUSH PUSH TYPE V YPE VSS DEECT SWITCH | PK-47352-101-001 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Molex/47352-1001?qs=%2Fha2pyFadugMdjZYSKABeGrajXH2DdznaFMrfBvIeKA%3D
16 | JP2 | 1 | Keystone Electronics | BK-885 | Soporte para baterías de botón SM COIN CELL BH 12mm |  |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Keystone-Electronics/3000?qs=%2Fha2pyFadujTDNeZY6bzPD0Nj9Vr0eOVOcbJugq%252BLNo%3D
17 | JP3, JP6 | 2 | Adafruit Fha | 485-4391 | Accesorios de Adafruit JST PH 3-pin Horizontal Connector (10-pack) - STEMMA |  |  |  |  | https://www.mouser.cl/ProductDetail/Adafruit/4391?qs=%2Fha2pyFadugtJmoqj%2FPvZpSvaQHZyekvd1x0auyzJ3o%3D
18 | JP4 | 1 | Rosenberger/51K204 400A | 51K204-400A5 | Conectores RF / Conectores coaxiales BNC Right Angle Jack PCB |  |  |  | PCB Mount | https://www.mouser.cl/ProductDetail/Rosenberger/51K204-400A5?qs=%2Fha2pyFadug4fYXudsTotAs%252BjAmgMljjxxwSPLz1HXfKuZeRtkpBpg%3D%3D
19 | JP5 | 1 | Seeed Studio | 713-110990037 | Accesorios de Seeed Studio Grove - Universal 4 pin connector 90(10 PCS) |  |  |  |  | https://www.mouser.cl/ProductDetail/Seeed-Studio/110990037?qs=%2Fha2pyFaduirNTBqxL2M9sdBXAlCjs0Pts7CBjd02pXbHleecaCMug%3D%3D
20 | JP9 | 1 | 25sh-b tech/25sh-b-03-tr | 25SH-B-03-TR | CONN HEADER R/A 3POS 2.5MM |  |  |  |  | https://www.digikey.com/es/products/detail/adam-tech/25sh-b-03-tr/9830388
21 | JP7 | 1 | 25sh-b tech/25sh-b-02-tr | 2057-25SH-B-02-TR | CONN HEADER R/A 2POS 2.5MM |  |  |  |  | https://www.digikey.com/es/products/detail/adam-tech/25sh-b-02-tr/9830318
22 | L1, L2 | 2 | Wurth Elektronik | 74438336010 | Inductores fijos WE-MAPI 1uH 4A DCR=32mOhms AECQ200 |  | 1212 | 3030 | SMD/SMT | https://www.mouser.cl/ProductDetail/Wurth-Elektronik/74438336010?qs=%2Fha2pyFadujRv1CB1uDftt%252BienfCugsaBmXXoUVLy6Yg%252B0cUo7%252BN0A%3D%3D
23 | L3, L4 | 2 | Bourns/SRN8040 1R | SRN8040-1R0Y | Inductores fijos 1uH 30% SMD 8040 |  | 8040 | 3116 | SMD/SMT | https://www.mouser.cl/ProductDetail/Bourns/SRN8040-1R0Y?qs=%2Fha2pyFadugalDITm6OrEtxrhhfdMYF92lT8KXwgeBfB%2FQ7ePd6lhg%3D%3D
24 | LED1, LED2, LED3, LED4, LED5, LED6 | 6 | ls-q976-pq-1-0 opto-semiconductors-inc/ls-q976-pq-1-0-20-r18 | LS Q976-NR-1 | LED CHIPLED SUPER RED 0603 |  | 0603 | 1608 | SMD/SMT | https://www.digikey.com/es/products/detail/osram-opto-semiconductors-inc/ls-q976-pq-1-0-20-r18/6621945
25 | Q1, Q2, Q3, Q4 | 4 | onsemi BSS123?qs | BSS123 | MOSFET SOT-23 N-CH LOGIC | SOT-23-3 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/onsemi/BSS123?qs=sGAEpiMZZMsVgcksf1EMUo%2FH8erHG2pW
26 | Q6 | 1 | onsemi P | FDN340P | MOSFET SSOT-3 P-CH -20V | SSOT-3 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/onsemi/FDN340P?qs=sGAEpiMZZMtqBmg8fZQA60%252Bcq5KHywZb
27 | Q7 | 1 | Diodes Incorporated | DDC123JU | Transistores bipolares - previamente polarizados DUAL NPN 200mW | SOT-363-6 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Diodes-Incorporated/DDC123JU-7-F?qs=%2Fha2pyFadujnEu8IzHZUVvCX7QYD8w5lJvE%252BXxDI%2FG8%3D
28 | R1,R2,R6, R9,R11,R12, R19, R21, R22, R30, R31, R32, R35, R38, R49, R50, R57,R70, R71, R72, R73, R74, R75 | 13 | YAGEO/RC0603FR RC0603FR | RC0603FR-0710KL | Resistores de película gruesa - SMD 10 kOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-0710KL?qs=grNVn54RoB%252B3GtjbJj3wJQ%3D%3D
29 | R4, R5 | 2 | YAGEO/RC0603FR RC0603FR | RC0603FR-0722KL | Resistores de película gruesa - SMD 22 kOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-0722KL?qs=diQw95jMAeO86nsIZoklhA%3D%3D
30 | R7, R36 | 2 | YAGEO/RC0603FR RC0603FR | RC0603FR-071ML | Resistores de película gruesa - SMD 1 MOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-071ML?qs=%2Fha2pyFaduhXXNW8qwNUNvUxxhGAYU50j%252B7ZuGO2619LqdLPzVCQjQ%3D%3D
31 | R8 | 1 | YAGEO/RC0603JR RC0603JR | RC0603JR-074K7L | Resistores de película gruesa - SMD 4.7 kOhms 100 mW 0603 5% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603JR-074K7L?qs=%2Fha2pyFaduiI%252B%2F%2Fp%2FYhTTYd%252Bum6UmshR6sFbTn%2FKkoOYw%2FNjSO3K7Q%3D%3D
32 | R10 | 1 | TE Connectivity | CRGP0603F120R | Resistores de película gruesa - SMD CRGP 0603 120R 1% SMD Resistor |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/TE-Connectivity/CRGP0603F120R?qs=sGAEpiMZZMv0NwlthflBi5jLPn8p%252B3YiIGk4iU36408%3D
33 | R13, R17, R20, R34, R37, R39, R41, R45, R52, R53, R76 | 11 | YAGEO/RC0603FR RC0603FR | RC0603FR-071KL | Resistores de película gruesa - SMD 1 kOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-071KL?qs=%2Fha2pyFaduhXXNW8qwNUNr%252BmS6nAz7swCBR%252BdQne6Pp%2F6Ea4YgVBAw%3D%3D
34 | R14 | 1 | Panasonic/ERJ 3EKF | ERJ-3EKF6801V | Resistores de película gruesa - SMD 0603 6.8Kohms 1% AEC-Q200 |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Panasonic/ERJ-3EKF6801V?qs=%2Fha2pyFaduipAmbZAK%252BWzgzCazJZ5xsYceR9IQFqNlqljB%252BgPVWwPw%3D%3D
35 | R15, R18, R62, R67 | 4 | YAGEO/RC0603FR RC0603FR | RC0603FR-07100KL | Resistores de película gruesa - SMD 100 kOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-07100KL?qs=%2Fha2pyFaduhXXNW8qwNUNlsmf3cC7UYdUYlWziFrcx8KsgYOmfSoeQ%3D%3D
36 | R16, R26, R48, R56 | 4 | YAGEO/RC0603FR RC0603FR | RC0603FR-0730KL | Resistores de película gruesa - SMD 30 kOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-0730KL?qs=diQw95jMAeNFr44yr782FQ%3D%3D
37 | R23 | 1 | YAGEO/RC0603JR RC0603JR | RC0603JR-074K7L | Resistores de película gruesa - SMD 4.7 kOhms 100 mW 0603 5% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603JR-074K7L?qs=%2Fha2pyFaduiI%252B%2F%2Fp%2FYhTTYd%252Bum6UmshR6sFbTn%2FKkoOYw%2FNjSO3K7Q%3D%3D
38 | R24 | 1 | products/detail/stackpole electronics-inc/RMCF0603JT4M70 | RMCF0603JT4M70 | 4.7 MOhms ±5% 0.1W, 1/10W Resistencia en microprocesador 0603 (1608 métrico) AEC-Q200 automotriz Película gruesa |  | 0603 | 1608 | SMD/SMT | https://www.digikey.com/es/products/detail/stackpole-electronics-inc/RMCF0603JT4M70/1757971?s=N4IgTCBcDaIEoFkDCAxADANjQZgFIBUAWBAdjRAF0BfIA
39 | R25 | 1 | Vishay PLT0603Z | PLT0603Z5000AST5 | Resistores de película fina - SMD 150mW 500OHM 0.05% 0603 5PPM |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Vishay/PLT0603Z5000AST5?qs=sGAEpiMZZMvo0doU39sz80woaKONnXT9YijsTScj4nE%3D
40 | R27, R40, R46, R51, R54 | 5 | YAGEO/RC0603FR RC0603FR | RC0603FR-072K2L | Resistores de película gruesa - SMD 2.2 kOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-072K2L?qs=%2Fha2pyFaduhXXNW8qwNUNhX36L1iD1XAUqGGNRb%2FYN24d7pZu%2F53OA%3D%3D
41 | R28 | 1 | products/detail/stackpole electronics-inc/rmcf0603jt75k0 | RMCF0603JT75K0 | 75 kOhms ±5% 0.1W, 1/10W Resistencia en microprocesador 0603 (1608 métrico) AEC-Q200 automotriz Película gruesa |  | 0603 | 1608 | SMD/SMT | https://www.digikey.com/es/products/detail/stackpole-electronics-inc/rmcf0603jt75k0/1712336
42 | R29 | 1 | YAGEO/RC0603FR RC0603FR | RC0603FR-075K6L | Resistores de película gruesa - SMD 5.6 kOhms 100mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-075K6L?qs=2cAdsCoAWRHvOVv%2Fp%252BkS0g%3D%3D
43 | R33 | 1 | Bourns PV36W | PV36W502C01B00 | Resistores eléctricos - Agujero pasante 5Kohms 10mm Square 25turn |  |  |  | THROUGH HOLE | https://www.mouser.cl/ProductDetail/Bourns/PV36W502C01B00?qs=%2Fha2pyFadugpCSJ1dXoqenbEOZourdtToQxwtoPPjebOy0kgaKSZ%2FQ%3D%3D
44 | R47, R55 | 2 | products/detail/stackpole electronics-inc/rmcf0603ft5k23 | RMCF0603FT5K23 | 5.23 kOhms ±1% 0.1W, 1/10W Resistencia en microprocesador 0603 (1608 métrico) AEC-Q200 automotriz Película gruesa |  | 0603 | 1608 | SMD/SMT | https://www.digikey.com/es/products/detail/stackpole-electronics-inc/rmcf0603ft5k23/1760913
45 | R58, R63 | 2 | products/detail/stackpole electronics-inc/rmcf0603ft332k | RMCF0603FT332K | 5.23 kOhms ±1% 0.1W, 1/10W Resistencia en microprocesador 0603 (1608 métrico) AEC-Q200 automotriz Película gruesa |  | 0603 | 1608 | SMD/SMT | https://www.digikey.com/es/products/detail/stackpole-electronics-inc/rmcf0603ft332k/1760733
46 | R59, R66 | 2 | YAGEO/RC0603FR RC0603FR | RC0603FR-07324KL | Resistores de película gruesa - SMD 324 kOhms 100 mW 0603 1% |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0603FR-07324KL?qs=%2Fha2pyFaduhXXNW8qwNUNpg5piMTeN%2F%2FI9ysKen8SSuvISIzGRuUhw%3D%3D
47 | R60, R64 | 2 | YAGEO/RC0805FR RC0805FR | RC0805FR-0717K4L | Resistores de película gruesa - SMD 17.4 kOhms 125 mW 0805 1% |  | 805 | 2012 | SMD/SMT | https://www.mouser.cl/ProductDetail/YAGEO/RC0805FR-0717K4L?qs=fRxXYNj8ftEBmtNCSuxBDg%3D%3D
48 | R61, R65 | 2 | Panasonic/ERJ 3EKF | ERJ-3EKF2703V | Resistores de película gruesa - SMD 0603 270Kohms 1% AEC-Q200 |  | 0603 | 1608 | SMD/SMT | https://www.mouser.cl/ProductDetail/Panasonic/ERJ-3EKF2703V?qs=%2Fha2pyFaduhdoJMZbYKqsro5OJKXpeLd1khPS0ochkdgmH6Pvf8aqg%3D%3D
49 | SW2 | 1 | C&K | AYZ0202AGRLC | Interruptores deslizantes DPDT Montaje en superficie |  |  |  | SMD/SMT | https://www.digikey.com/es/products/detail/c-k/AYZ0202AGRLC/1640109?s=N4IgTCBcDaIIIE0BaAGMa4HEBKAZAwiALoC%2BQA
50 | U1 | 1 | Microchip/ATMEGA328 AUR | ATMEGA328-AUR | Microcontroladores de 8 bits - MCU AVR 32K FLSH 1K EE2K SRAM-20MHz IND | TQFP-32 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Microchip/ATMEGA328-AUR?qs=sGAEpiMZZMsvbV9l%252Bnr01IhEJAv6DFM8BKZZdNONkRo%3D
51 | U2 | 1 | Texas Instruments | ADS1015IDGSR | Conversores analógicos a digitales - ADC 12B ADC with Int MUX PGA Comp Osc & Ref | MSOP-10 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/ADS1015IDGSR?qs=IK5e5L0zOXhCrFZ0pftZqw%3D%3D
52 | U3, U15 | 2 | Texas Instruments | BQ25606RGER | Administración de baterías Stand Alone 1cell 3A Fast charger with High input voltage and Power Path 24-VQFN -40 to 85 | VQFN-24 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/BQ25606RGER?qs=5aG0NVq1C4zkYp5xuky4%2Fg%3D%3D
53 | U4 | 1 | Texas Instruments | SN75176AD | Circuito integrado para interfaz RS-422/RS-485 Diff Bus Trans | SOIC-8 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/SN75176AD?qs=FetendrIl6upbSVFRObzhQ%3D%3D
54 | U5 | 1 | Diodes Incorporated | AP2120N-3.3TRG1 | Reguladores de tensión LDO 250mA CMOS LDO 3.3V 200mV | SOT-23-3 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Diodes-Incorporated/AP2120N-33TRG1?qs=%2Fha2pyFadujsXX8id9k5p%252BHYwJGFFI19dyUd49Uc4NQhxiOy71fsXg%3D%3D
55 | U6 | 1 | Texas Instruments | CD4060BM96 | Circuitos cerrados para contadores CMOS 14-St Ripple- Carry Binary | SOIC-Narrow-16 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/CD4060BM96?qs=LU5rZWrBGo0PeaGYdihJGw%3D%3D
56 | U7 | 1 | Analog devices | 584-C1983ES6-5TRPBF | Reguladores de voltaje de conmutación 100mA Inverting Charge Pump in ThinSOT | SOT-23-6 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Analog-Devices-Inc/LTC1983ES6-5TRPBF?qs=sGAEpiMZZMsKEdP9slC0YZmsk%252BGPOJUH1bpa4tlB110%3D
57 | U8 | 1 | STMicroelectronics LM358D | LM358D | Amplificadores operacionales - Op Amps Dual Low Power | SOIC-8 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/STMicroelectronics/LM358D?qs=4kXaGCtSlT3mFye4RVsPfA%3D%3D
58 | U9 | 1 | Texas Instruments | LMV324AQDRQ1 | Amplificadores operacionales - Op Amps AEC-Q100, 4-channel, 1-MHz, industry standard, CMOS operational amplifier for cost-optimized systems 14-SOIC -40 to 125 | SOIC-14 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/LMV324AQDRQ1?qs=%2Fha2pyFaduje7sO%2FsDCgW63I04FXMFlUzKhqVNffMwswAUm%252BluPJGQ%3D%3D
59 | U10 | 1 | Texas Instruments | TL081BCD | Amplificadores operacionales - Op Amps JFET-Input Oper Amplifier | SOIC-8 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/TL081BCD?qs=odmYgEirbwwOtgI7tvPDqA%3D%3D
60 | U11 | 1 | Renesas Electronics | CA3140AMZ | Amplificadores operacionales - Op Amps OPAMP 4.5MHZ LWBIAS | SOIC-8 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Renesas-Electronics/CA3140AMZ?qs=sGAEpiMZZMs94xRMzfQQ76fsQLZO7o22OWIh4wINdV4%3D
61 | U12 | 1 | Texas Instruments | TPS60400DBVT | Reguladores de voltaje de conmutación 60mA Charge Pump V | SOT-23-5 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/TPS60400DBVT?qs=ZA235jQDfbqmNiI8qkuf0g%3D%3D
62 | U13 | 1 | Diodes Incorporated | AP2125N-3.0TRG1 | Reguladores de tensión LDO 300mA CMOS LDO 3.0V 65mV | SOT-23-3 |  |  |  | https://www.mouser.cl/ProductDetail/Diodes-Incorporated/AP2125N-30TRG1?qs=%2Fha2pyFaduhWxMGejxYRQTQ4AXoih2XiM2HqFYrypBKRjhlpaWeskA%3D%3D
63 | U16, U17 | 2 | Texas Instruments | TPS61088RHLR | Reguladores de voltaje de conmutación 10-A Fully-Integrated Synchronous Boost Converter 20-VQFN -40 to 85 | VQFN-20 |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Texas-Instruments/TPS61088RHLR?qs=MiqG6Kq1qKNjgpnslrNKug%3D%3D
64 | Y1 | 1 | Murata CSTNE16M | CSTNE16M0V530000R0 | Resonadores 16.0000MHz 15pF SMD CHP Resntr |  |  |  | SMD/SMT | https://www.mouser.cl/ProductDetail/Murata/CSTNE16M0V530000R0?qs=sGAEpiMZZMv0NwlthflBizq6cZGp570Qcg1xqQmGrVM%3D